## Calc
Elaho Power Supply Calculator
Control Products |  | Output Products |  | Power Supplies
Inspire 1 Button |  | 1 Zone Relay Controller Gen 2 |  | E-SPS
Inspire 2 Button |  | 2 Zone Relay Controller Gen 2 |  | E-APS (Aux Power Only)
Inspire 4 Button |  | 1 Zone 0-10V Controller Gen 2 |  | Use Room Controller Power Supply
Inspire 6 Button |  | 2 Zone 0-10V Controller Gen 2 |  | E-SPS-DIN
Inspire 8 Button |  | 1 Zone SmartSpace Controller Gen 2 |  | E-SPM-WM
Inspire 4 Btn Fader |  | 2 Zone SmartSpace Controller Gen 2 |  | E-SPM-WM-A
5 Button Preset |  | 120V Phase Adaptive Dimmer Gen 2 |  | E-SPM-RM
10 Button Preset |  | 277V Phase Adaptive Dimmer Gen 2 |  | E-SPM-RM-A
Keyswitch Station |  | 4 Zone Room Controller Gen 2
Dual Tech 1 Button |  | 8 Zone Room Controller Gen 2 |  | Control Units Provided: | 0
Dual Tech 2 Button |  | 4 Zone Room Controller w/ TC Gen 2 |  | Output Units Provided: | 0
PIR Occupancy Sensor |  | 8 Zone Room Controller w/ TC Gen 2 |  | Aux Provided: | 0
Light Sensor |  | Elaho Relay Panel Feedthrough
Dual Tech Ceiling Sensor |  | DMX Scene Controller
ElahoAccess Interface |  | Elaho-Echoflex Interface
TimeClock (Max 1) |  | Contact Interface - Output
Contact Interface - Input |  | ElahoTouch
Demand Response Interface |  | Use PoE?
BACnet Interface (Max 1)
Use PoE?
Status:
Special |  |  |  | Please add an Elaho Station Power Supply
Echo Expansion Bridge
Use PoE?
Control Units Required: | 0 | Output Units Required: | 0
Aux Required: | 0 | Aux Required: | 0

## Data (hidden)
Echo Power Supply Calculator
Control Products | Aux | Output Products | Aux | Power Supplies | Aux
Inspire 1 Button | 0 | 1 Zone Relay Controller Gen 2 | 0 | E-SPS | 0
Inspire 2 Button | 0 | 2 Zone Relay Controller Gen 2 | 0 | E-APS (Aux Power Only) | 160
Inspire 4 Button | 0 | 1 Zone 0-10V Controller Gen 2 | 0 | Use Room Controller Power Supply | 0
Inspire 6 Button | 0 | 2 Zone 0-10V Controller Gen 2 | 0 | E-SPS-DIN | 1500
Inspire 8 Button | 0 | 1 Zone SmartSpace Controller Gen 2 | 0 | E-SPM-WM | 0
Inspire 4 Btn Fader | 0 | 2 Zone SmartSpace Controller Gen 2 | 0 | E-SPM-WM-A | 1500
5 Button Preset | 0 | 120V Phase Adaptive Dimmer Gen 2 | 0 | E-SPM-RM | 0
10 Button Preset | 0 | 277V Phase Adaptive Dimmer Gen 2 | 0 | E-SPM-RM-A | 1500
Keyswitch Station | 0 | 4 Zone Room Controller Gen 2 | 0
Dual Tech 1 Button | 0 | 8 Zone Room Controller Gen 2 | 0
Dual Tech 2 Button | 0 | 4 Zone Room Controller w/ TC Gen 2 | 0
PIR Occupancy Sensor | 0 | 8 Zone Room Controller w/ TC Gen 2 | 0
Light Sensor | 0 | Echo Relay Panel Feedthrough | 0 |  | 72000
Dual Tech Ceiling Sensor | 0 | DMX Scene Controller | 150
EchoAccess Interface | 50 | Echo-Echoflex Interface | 50
TimeClock | 40 | Contact Interface - Output | 40
Contact Interface - Input | 40 | EchoTouch | 400
Demand Response Interface | 40 | PoE? | FALSE | Special
BACnet Interface | 100 |  |  | Echo Expansion Bridge | 100
PoE? | FALSE |  |  | Used? | FALSE
|  |  |  | PoE? | FALSE
7300
Control Units Required: | 0
Aux Required: | 0
Output Units Required: | 0
Aux Required: | 0
Control Units Provided: | 0
Output Units Provided: | 0
Aux Provided: | 0
Issues:
FALSE | Not enough Auxilary Power provided, add more or larger Auxiliary Power Supplies
FALSE | Too many Elaho Control Products, add more Elaho Station Power Supplies
FALSE | Too many Elaho Output Products, add more Elaho Station Power Supplies
FALSE | Too many Elaho Control Products, reduce number of devices
FALSE | Too many Elaho Control Products, add an Elaho Expansion Bridge
FALSE | Too many Elaho Output Products, reduce number of devices
FALSE | Too many Elaho Output Products, add an Elaho Expansion Bridge
TRUE | Please add an Elaho Station Power Supply
FALSE | Too many Elaho Station Power Supplies. Please reduce or add an Elaho Expansion Bridge
FALSE | Too many Elaho Station Power Supplies, please reduce
FALSE | Too many Elaho TimeClocks
Elaho System is okay
Status: | Please add an Elaho Station Power Supply
number of timeclocks | 0